# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title : Supply of equipment for diagnostic centre for postural and musculoskeletal disorders	p 1 /…

Publication reference : CB007.1.21.129-1-SU-4.1

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| LOT 01: Medical instruments and devices |  |  |  |  |
| 1 | DIGITAL MOBILE STADIOMETER WITH WIRELESS TRANSMISSION, Quantity:1 Network-capable with wireless technology. Should digitally measure small children and adults. Should have line for precise positioning of head. Should have backlit LCD display in headpiece. Should have stable platform with integrated heel positioner. Data should be sent wirelessly to a digital printer with wireless transmission, a PC or a compatible scale with wireless transmission that should calculate the BMI from height and weight measurements. Functions and properties: wireless, HOLD, User-defined zero setting, Backlighting, RESET, Calibration, Automatic calibration, Automatic switch-off, SEND, Auto-SEND, PRINT, Auto-PRINT, Heel positioner |  |  |  |
| 2 | ELECTRONIC CHAIR SCALE Quantity:1 Technical data: Capacity min: 300kg Power supply: Rechargeable batteries, Power adapter Functions: PRINT, Overload protection, Auto-PRINT, TARE, Autom.Weighing range switch-over, Pre-TARE, HOLD, BMI, Automatic switch off, Wireless interface, SEND, RESET Seat should provide a safe position; the separately swiveling armrests should make it easy to move the patient from the bed onto the chair scale and the fold-away footrests should increase ease of operation. The locking rear wheels included. The positioning of the large LCD unit. |  |  |  |
| 3 | ELECTRONIC WEIGHING AND MEASURING STATION WITH AUTOMATIC BMI CALCULATION AND WIRELESS PRINTER, Quantity:1 Technical data: Capacity min: 300kg Graduation(g): 50g Graduation (measuring rod): 1mm Power supply: Battery, Power adapter Functions: PRINT, overload protection, Auto-Print, Measuring rod, TARE, Auto-clear, Clear, Patient data input, BFR(Body fat rate), Pre- TARE, Mother/child function, HOLD, Auto- HOLD, BMI, Auto-BMI,kg/lbs, switch-over, calibration, autom. Calibration, Automatic switch-off, Wireless interface, SENDS, RESET It should include the high-capacity scale integrated in a stable platform, the heel positioner and the solid headpiece. Should have two displays, a multi-function touch display, should show weight, height and the automatically calculate BMI. |  |  |  |
| 4 | CALIPER, Quantity: 1 The Caliper should have access to Body Composition and Body Fat. Should have possibility to select the age range and gender. Caliper should make assessing Body Composition in max. 45 seconds. Features: 1 dial to select Gender & Age. Built in immediate percent Fat calculation. Carrying case and power Plug should be included. |  |  |  |
| 5 | DISPOSABLE MEASURING TAPE IN PRACTICAL WALL DISPENSER, Quantity:1 Disposable measuring tape of high-quality paper with purpose to prevent cross infection. Should have uncomplicated removal of measuring tape for immediate use. At hand at all times from exclusive wall dispenser. Should have extra space to write down name, height, weight and date. Technical data: Measuring range: 0-100cm Graduation (measuring rod): 1mm |  |  |  |
| 6 | ANALYTICS SOFTWARE Quantity:1 The software should be composed of an active analytic database for entering all parameters of measurement, which at least implies: name, surname, gender, date of birth, other personal data, weight, BMI |  |  |  |
| LOT 02: Office IT equipment |  |  |  |  |
| 1 | DESKTOP COMPUTER SYSTEMS, Quantity:3 Technical data: RAM Memory min. 4GB DDR3 memory min. 1 x 4 GB Min. 2 SODIMM slots Hard Disk min. 1 TB 7200 rpm Screen size min. 23 " Screen min. 58.4 cm diagonal FHD IPS 10 -point touch -enabled LED -backlit Display Resolution min. 1920 x 1080 Optical device Slim -tray DVD burner Min. 4 USB 2.0 connections and min. 2 USB 3.0 Min. 1 headphone / microphone combo and 3 - in- 1 memory card reader Lan Network availability Wireless networks availability Sound B & O PLAY with dual min. 2W speakers Operating system 64bit Integrated webcam with microphone Peripherals Wireless Mouse and Keyboard Dimensions 56.8 x 19.3 x 45.1 cm (W x D x H) Min. 2 years Warranty guaranteed all the rights of customers on the basis of consumer protection laws |  |  |  |
| 2 | MULTIMEDIA PROJECTOR BUNDLE, Quantity:1 Technical data: 3LCD Technology LCD Panel min. 0.67 inch with MLA (D10) 3,200 Lumen-2,240 Lumen (economy) Resolution WUXGA, min. 1920 x 1200 Full HD Aspect Ratio 16:10 Contrast Ratio 15,000 : 1 Lamp min. 200 W, and min. 5,000 h durability, 10,000 h durability (economy mode) Keystone Correction Auto vertical: ± 30 °, Manual horizontal ± 30 ° Color Processing min. 10 Bits 2D Vertical Refresh Rate 192 Hz - 240 Hz Color Reproduction Up to 1.07 billion colors Projection Ratio 1.38 - 1.68:1 Zoom Manual, Factor: 1.2 Optical Lens Projection Size 30 inches - 300 inches Projection Distance Wide/Tele 1.8 m - 2.17 m (60 inch screen) Focal Distance range: 20.42 mm - 24.5 mm Cinch audio in, MHL, Composite in, HDMI in (2x), VGA in, Wireless LAN IEEE 802.11b/g/n, USB 2.0 Type B, USB 2.0 Type A Kensington lock, Padlock, Security cable hole, Wireless LAN security, Password protection AV Mute Slide, Built-in speaker, Direct Power on/off, Document Camera Compatible, Horizontal and vertical keystone correction, MHL audio/video interface, Network projection, OSD copy function, PC Free, Split-Screen-Function, Wireless LAN capable, iProjection set-up by QR code Video Color Modes: Blackboard, Cinema, Dynamic, Presentation, sRGB Energy Use: max. 277 Watt, 207 Watt (economy), 0.26 Watt (standby) Noise Level Max. Normal: 37 dB (A) - Economy: 28 dB (A) Included Software Loudspeaker min. 2 Watt To contain: Carrying bag, VGA cable, Power cable, Remote control incl. batteries, User's Manual Set, Warranty Documents Electric projector screen with remote control min. 244cm x 244cm HDMI cable gold plated |  |  |  |
| 3 | PORTABLE COMPUTERS, Quantity:4 Technical data: Screen min. 15.6 " with LED backlight, touch screen Resolution: min. 1920 x 1080 pixels Dual Core Processor Speed: min. 2.5GHz (Turbo to 3.1GHz) Cache Memory: min. 4MB Graphics: min. 2GB DDR3 dedicated memory Memory: min. 4GB (4GB x 1) LPDDR3 1600 MHz SDRAM, HDD1 Capacity: min. 500GB Rotation: 5400 rpm Tip HDD1 HDD stereo speakers Web 1.0 Mpix camera with microphone HDMI (Type A) USB 2.0 min. 1 USB 3.0 min. 2 Network Card LAN 10/100/1000 Mbps Wireless Dual Band Wireless LAN 2.4 / 5GHz (802.11 ac / a / b / g / n) SD card reader Battery 3-cell Li-ion Operating system 64bit Illuminated keypad The full-sized, with separate numeric keypad |  |  |  |
| LOT 03: Mobile accessories (tables, chairs, benches, etc.) |  |  |  |  |
| 1 | OFFICE TABLE - 80cm X 130cm, Quantity: 5 The top plate – min. 25mm thick chipboard panels, protected by min. 2mm thick ABS tape. The structure –min. 18mm thick chipboard panel, protected by 2mm thick ABS tape. Dimensions: 80 x 130 x 74cm All connections are seamless. 2-year warranty |  |  |  |
| 2 | CONFERENCE TABLE -110cm X 320cm, Quantity: 1 The top plate and side of the table are made of min. 36mm thick chipboard panels, protected by min. 2mm ABS tape Dimensions: 110 X 320 X 74 cm Robust construction. The chrome strips on the frame. 2-year warranty. |  |  |  |
| 3 | Office swivel chairs, Quantity:8 Capacity min. 120kg The seat and backrest are covered with sponge and covered with canvas. A mechanism for raising class III exceptional quality. Base chair: chrome star on wheels. Warranty: min. 1 year. |  |  |  |
| 4 | CONFERENCE CHAIRS, Quantity:13 Material: eco leather Chrome Frame Plastic armrests Capacity min. 120kg |  |  |  |
| 5 | CHAIRS FOR WAITING ROOM (ATTACHED 3 + 3), Quantity: 2 Conference chair - three in a row Color - black, blue or burgundy Development: seat and backrest made of plywood coated sponge and covered with fabric. Base chairs: Metal Warranty: min. 1 year. |  |  |  |
| 6 | CABINETS, CUPBOARDS, Quantity:4 Material univer board or chipboard 93.0 cm x 42.5 cm x 195.5 cm |  |  |  |
| 7 | CABINETS SHOWCASES, Quantity:4 Material chipboard 80.0 cm x 35.0 cm x 81.0 cm |  |  |  |
| 8 | WARDROBE, Quantity:2 Material chipboard 80.0 cm x 35.0 cm x 81.0 cm |  |  |  |
| 9 | BENCH WITH WALL HANGER, Quantity:2 Standard bench for locker room in length of 5m Material metal and wood |  |  |  |
| 10 | EQUIPMENT KITCHENETTE, LOWER AND UPPER ELEMENTS WITH SINK, Quantity:1 Material chipboard 180 cm x 60 cm x 200 cm |  |  |  |
| 11 | SWEDEN LADDERS, Quantity: 5 Ripstol (OAK) Material: 100% oak wood (laminated) Dimensions: 250x90cm The number of transverse slats: 15 Oval slats measuring 3x4 cm Max load: 145kg • upper bar is moved forward Ripstol can be disassembled (Prefabricated connection) Mounting kit: 4 holders, 4xtipl Ø10, 4x screw (6x70mm, 4x50mm, 4x30mm) Iron holders included Quality assurance |  |  |  |