Questions and Answers

Tender: Supply of specialized fire protection equipment

Ref. number: CB007.2.31.131-PP2-02

Contracting authority: Municipality of Slivnitsa

| Question | Answer |
| --- | --- |
| - Regarding Lot 3, ANNEX II + III: TECHNICAL SPECIFICATIONS + TECHNICAL OFFER, item No 1 – Specialized equipment of a light commercial vehicle for fire-fighting, paragraph Technical data: In first point of the above-mentioned paragraph the Contracting Authority is asking for Water supply reserve) – 650 l. We kindly want to inform you that a water tank with capacity of 650 as part of the module for fire fighting, will overload the light commercial vehicle, if the same is intended for installation on the vehicle under lot 2. Considering the weigh of the module, the optimal capacity of the water tank is 300 liters for such vehicle. In this relation, we are kindly asking you to confirm that the required volume of the tank 650 l shall be considered as maximum and the tenderers can offer water tank with capacity of not less than 300 l. | Based on the study we did at the application stage, the pickup will withstand the entire module, with a tank capacity of 650 liters. The tank must meet the minimum requirement set in the Technical Specification. |