VOLUME 4.3

FINANCIAL OFFER TEMPLATES

UNIT PRICE CONTRACTS

Content

4.3.1 — Introduction

4.3.2 — Bill of Quantities

4.3.3 — Price Schedule

VOLUME 4.3.1 — INTRODUCTION

1. 	General

1.1	The Bill of Quantities (Volume 4.3.2) is the document containing an itemised breakdown of the works to be carried out in a unit price contract, indicating a quantity for each item and the corresponding unit price. The quantities set out in the Bill of Quantities are estimated quantities. Each price for each item of the Bill of Quantities is detailed in the Price Schedule (Volume 4.3.3).

The amounts due will be calculated by measuring the actual quantities of the works executed and by applying the unit rates to the quantities actually executed for each item.

1.2	The Detailed Breakdown of Prices (Volume 4.3.5) is the list containing the basic costs, net costs and mark-ups from which each price on the Bill of Quantities and the Price Schedule and on the Daywork Schedule results.

The Detailed Breakdown of Prices provides the coefficients for applying the price revision formula referred to in Article 48.2 of the Special Conditions and can provide the basis for valuation of additional work ordered referred to in article 37.5 of the General Conditions.

1.3	Provisional sums for use when works are to be executed on a daily work basis (Volume 4.3.4) can only be executed by administrative order of the Supervisor in accordance with the terms of the Contract.

2.	Specific to Volumes 4.3.2, 4.3.3 and 4.3.4

2.1	The prices inserted in the Bill of Quantities and Price Schedule are to be the full inclusive values of the works described under the items, including all costs and expenses that may be required in and for the construction of the works described, together with any temporary works and installations which may be necessary and all general risks, liabilities and obligations specified or implied in the documents on which the tender is based. It will be assumed that establishment charges, profit and allowances for all obligations are spread evenly over all unit rates.

2.2	Save where the technical specifications or the Bill of Quantities and the Price Schedule specifically and expressly state otherwise, only permanent works are to be measured.

2.3	No allowance will be made for loss of materials or volume thereof during transport or compaction.

2.4	The prices do not include taxes and fiscal duties, as exoneration is explicitly given for the contract. Non-exonerated taxes and fiscal duties are covered in the prices of the Bill of Quantities and Price Schedule, apart from those stated separately in the financial offer templates.

2.5	The Unit prices in Volumes 4.3.2 and 4.3.4 are obtained by multiplying the Net cost of Volume 4.3.5 - Table D, on the one hand, with the coefficient K, on the other hand.

The coefficient K represents the proportions between the Site costs (Fc) of Volume 4.3.5 - Table E and the Total net costs (Ps) and between the General costs (Fg) of Volume 4.3.5 - Table F and the Contract price (Pv): K = (1+A)/(1-B) whereby

A= Fc/Ps

B =Fg/Pv

2.5	The units of measurement used in the annexed technical documentation are those of the International System of Units (SI). No other units may be used for measurements, pricing, detail drawings etc. (Any units not mentioned in the technical documentation must also be expressed in terms of the SI.) Abbreviations used in the bill of quantities are to be interpreted as follows:

mm	means	millimetre

m	means	metre

mm²	means	square millimetre

m²	means	square metre

m³	means	cubic metre

kg	means	kilogram

to	means	tonne (1000 kg)

pcs	means	pieces

h	means	hour

L.s.	means	Lump sum

km	means	kilometre

l	means	litre

%	means	per cent

N.d	means	nominal diameter

m/m	means 	man-month

m/d	means 	man-day

VOLUME 4.3.2 — BILL OF QUANTITIES

| PRICE No | TITLE | UNIT | UNIT PRICE | ESTIMATED QUANTITIES | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| (a) | (b) | (c) | (d) | (e) | (f = d * e) |
| 1. CONSTRUCTION AND INSTALLATION WORKS |  |  |  |  |  |
| - Preparation |  |  |  |  |  |
| A1 | Fence removal | m' |  | 387,80 |  |
| A2 | Concrete element demolition (existing site in the yard, unfinished, concrete elements up to 2 m above terrain, including foundations and surface) | m2 |  | 1635,00 |  |
| A3 | Existing surface demolition, removal of wooden and metal structures (in the schoolyard) | m2 |  | 1399,00 |  |
| A4 | Brush and trees for removal |  |  | 1,00 |  |
| A5 | Transportation, storage, disposal, reuse | m3 |  | 1,00 |  |
| - Main works |  |  |  |  |  |
| B2. Mini-football Ditch |  |  |  |  |  |
| B2.1 | Crushed fraction laying | m3 |  | 271,50 |  |
| B2.3 | Mini-football artificial green pitch surface (44/22 m) | m2 |  | 1056,00 |  |
| B3. Combined basketball and volleyball court surface (1 pc.) |  |  |  |  |  |
| B3.1 | Crushed fraction laying | m3 |  | 140,00 |  |
| B3.2 | Asphalt base (8 cm thickness) | m3 |  | 50,00 |  |
| B3.3 | Synthetic surface finish for combined basketball and volleyball court - 2 pc. (32/19 m) | m2 |  | 608,00 |  |
| B4. Training ground open area surface |  |  |  |  |  |
| B4.1 | Playground paving | m2 |  | 3065,00 |  |
| B4.2 | Rubble laving (15 cm average) | m3 |  | 460,00 |  |
| B5. Athletics track surface |  |  |  |  |  |
| B5.1 | Asphalt base (4 cm thickness) | m3 |  | 24,00 |  |
| B5.2 | Synthetic surface finish for athletics track (100 m, 6 lanes, 1-m wide) | m2 |  | 540,00 |  |
| B6 Open fitness ground surface |  |  |  |  |  |
| B6.1 | Foundation—crushed fraction, 0-32 mm (2 cm layer thickness) | m3 |  | 21,00 |  |
| B6.2 | Asphalt base, 8 cm | m3 |  | 8,40 |  |
| B6.3 | Open fitness rubber surface + installation | m2 |  | 105,00 |  |
| B7 Fence |  |  |  |  |  |
| B7.1 | New concrete boundary construction | m' |  | 52,00 |  |
| B7.2 | Galvanized and PVC-coated chain link fence panes, 153 cm height + PVC-coated steel poles | m' |  | 379,00 |  |
| B7.3 | Hinged two-leaf vehicle gate. 320 cm width | pcs |  | 3,00 |  |
| B7.4 | Pedestrian single-leaf gate. 120 cm width | pcs |  | 2,00 |  |
| B8 Site plumbing |  |  |  |  |  |
| B8.1 | Excavation works | m3 |  | 415,00 |  |
| B8.2 | Excavation shoring—installation and removal | m2 |  | 800,00 |  |
| B8.3 | Sand delivery and laying | m3 |  | 108,00 |  |
| B8.4 | Backfilling with coarse aggregate and 20-cm layer compaction | m3 |  | 307,00 |  |
| B8.5 | Loading and transportation of excavated soil | m3 |  | 307,00 |  |
| B8.6 | Delivery and installation of utility vault 01000 of steel-concrete elements, up to 2 m depth, including cast-iron BDS EN 124 or equivalent compliant manhole cover | pcs |  | 7,00 |  |
| B8.7 | Delivery and installation of corrugated PE pipes and face components for DN160 structure | m |  | 85,00 |  |
| B8.8 | Delivery and installation of corrugated PE pipes and face components for DN200 structure | m |  | 85,00 |  |
| B8.9 | Delivery and installation of corrugated PE pipes and face components for DN315 structure | m |  | 30,00 |  |
| B8.10 | Delivery and installation of corrugated PE pipes and face components for DN350 structure | m |  | 65,00 |  |
| B8.11 | Delivery and installation of surface water drains | pcs |  | 4,00 |  |
| B8.12 | Delivery and installation of B125 drainage channels | m |  | 75,00 |  |
| B9 Training ground lighting |  |  |  |  |  |
| B9.1 | Delivery and installation of LED 30 W or equivalent Dark luminaire | pcs |  | 24,00 |  |
| B9.2 | Deliverv and installation of 400 W metal-halide lamp | pcs |  | 16,00 |  |
| B9.3 | Pole foundation construction | pcs |  | 28,00 |  |
| B9.4 | Delivery and installation of 4 m pole for park luminaires with a terminal block and a C60N 6A or equivalent | pcs |  | 24,00 |  |
| B9.5 | Delivery and installation of 9 m pole with a bracket for 4 pc. metal-halide lamps | pcs |  | 4,00 |  |
| B9.6 | Delivery and installation of 1.5 m grounding electrode | pcs |  | 12,00 |  |
| B9.7 | Cable line tracing | m |  | 550,00 |  |
| B9.8 | Excavation, filling and compaction, 0.6/0.8 m | m |  | 550,00 |  |
| B9.9 | Construction of 10-cm sand bedding for cable | m |  | 550,00 |  |
| B9.10 | Delivery and laying of corrugated HDPE or equivalent pipe, ø110 mm, embedded in concrete | m |  | 150,00 |  |
| B9.11 | Delivery and laying of HDPE or equivalent corrugated HDPE pipe, ø110 mm | m |  | 1000,00 |  |
| B9.12 | Delivery and laying of aluminium-wire HV cable (SAVT) or equivalent 4x16 mm2 | m |  | 250,00 |  |
| B9.13 | Delivery and laying of aluminium-wire HV cable (SAVT) or equivalent 4x6 mm2 | m |  | 550,00 |  |
| B9.14 | Delivery and laying of copper wire (SVT) or equivalent 2 x 2.5 mm2 | m |  | 250,00 |  |
| B9.15 | Construction of cable trench 0.9x0.6x1 | pcs |  | 4,00 |  |
| B9.16 | Construction of cable trench, single, with frame and cover, 0.9/0.6/1 | pcs |  | 4,00 |  |
| B9.17 | Delivery and laying of barrier tape | m |  | 550,00 |  |
| B9.18 | Delivery and installation of electric switchboard | pcs |  | 1,00 |  |
| 10 Landscaping |  |  |  |  |  |
| B10.1 | Lawn curb | m' |  | 803,00 |  |
| B10.2 | Backless benches—wood and iron | pcs |  | 11,00 |  |
| B10.3 | Backless benches—concrete | pcs |  | 5,00 |  |
| B10.4 | Waste containers (concrete) | pcs |  | 10,00 |  |
| B10.5 | Bike stands | pcs |  | 2,00 |  |
| C. Sporting equipment |  |  |  |  |  |
| C1 Basketball |  |  |  |  |  |
| C1.1 | Backboard | pcs |  | 2,00 |  |
| C1.2 | Hoop | pcs |  | 2,00 |  |
| C1.3 | Structure/Stand | pcs |  | 2,00 |  |
| C1.4 | Net | pcs |  | 3,00 |  |
| C1.5 | Installation | pcs |  | 1,00 |  |
| C2 Volleyball |  |  |  |  |  |
| C2.1 | Stands for one court | pcs |  | 2,00 |  |
| C2.2 | Net with 4 tapes | pcs |  | 4,00 |  |
| C2.3 | Tensioners | pcs |  | 4,00 |  |
| C3 Mini-football |  |  |  |  |  |
| C3.1 | Goal | pcs |  | 2,00 |  |
| C3.2 | Football goal net | pcs |  | 4,00 |  |
| C4 Fencing system for the mini-football pitch |  |  |  |  |  |
| C4.1 | Delivery of galvanized chain link fence, 50/50 mesh, 2 m height Wire thickness ø 3.0 mm | m2 |  | 816,00 |  |
| C4.2 | Wire tensioners: Composition: iron + zinc + PVC. green colour | pcs |  | 46,00 |  |
| C4.3 | Installation of chain link fence. 6 m | m2 |  | 136,00 |  |
| C4.4 | Two-leaf fence gate | pcs |  | 1,00 |  |
| D5 Open fitness equipment |  |  |  |  |  |
| D5.1 | EFE52 Exerciser for disabled persons or equivalent | pcs |  | 1,00 |  |
| D5.2 | EFE55 Exerciser for disabled persons or equivalent | pcs |  | 1,00 |  |
| D5.3 | FE 03 or equivalent | pcs |  | 1,00 |  |
| D5.4 | FE 07 or equivalent | pcs |  | 1,00 |  |
| D5.5 | FE 08 or equivalent | pcs |  | 1,00 |  |
| D5.6 | FE 09 or equivalent | pcs |  | 1,00 |  |
| E. Part “Construction” |  |  |  |  |  |
| E.1 | Excavation | м3 |  | 52,00 |  |
| E.2 | Shuttering foundation and fence | м2 |  | 483,00 |  |
| E.3 | Suspended concrete for underlays - concrete В12,5 | м3 |  | 6,50 |  |
| E.4 | Foundations playground - concrete B25 | м3 |  | 45,00 |  |
| E.5 | Foundations fitness - concrete B25 | м3 |  | 3,00 |  |
| E.6 | Foundations basketball playground-concrete B25 | м3 |  | 10,00 |  |
| E.7 | Fence - concrete B25 | м3 |  | 46,00 |  |
| E.8 | Reinforcing works |  |  |  |  |
| E.9 | Steel - AI | kg |  | 801,00 |  |
| E.10 | Steel - AIII | kg |  | 2171,00 |  |
| E.11 | Ironware Works |  |  |  |  |
| E.12 | Steel posts - 6m box 80.80.4mm + 5% strips - 41pcs. | kg |  | 2431,00 |  |
| E.13 | Steel horizontal elements + 5% strips | kg |  | 1838,00 |  |
| E.14 | Anchors for concrete on plates - M12 | pcs |  | 180,00 |  |

Note: the numbering of prices under (a) and titles under (b) correspond to the numbering in the Price Schedule

VOLUME 4.3.3 — PRICE SCHEDULE

| PRICE No …. <for example: PRICE No B1> Title: … |  |
| --- | --- |
| Description of the implementation modalities of the works comprised within this price, as well as the measurement modalities of the quantities executed and to be paid by this price. |  |
| PRICE No … — TITLE: …. |  |
| Price in words: | Price in numbers: |

Etc.